{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":15,"n_cols":7,"rows_kept":15,"merged":[[0,0,0,6],[4,0,5,0],[4,1,5,1],[4,3,7,3],[4,6,5,6],[6,0,7,0],[6,1,7,1],[6,6,7,6],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,0,14,6]],"flags":["formulas_cached_only"]}
["国赛场地综合布线材料清单"]
["序号","设备名称","规格","数量","单位","单价","备注"]
[1,"超五类线缆","CAT5E",2,"箱",null,"大唐电信、TCL、飞利浦，节余交学院"]
[2,"强电线缆","BV4",120,"米",null,"熊猫、美河、三电"]
[3,"弱电线槽",70," 据实结算","米",null,"PVC抗压弧形线槽"]
[null,null,120,null,"米"]
[4,"强电线槽",50,null,"米",null,"PVC抗压弧形线槽"]
[null,null,120,null,"米"]
[7,"插线板","3位3孔",5,"个",null,"（公牛、子弹头、劳特）带开关、不带线"]
[8,"水晶头","超五类",2,"盒",null,"100颗/盒,品牌同超五类线缆，节余交学院"]
[9,"地毯","2MM厚红色"," 据实结算","平方"]
[11,"　　辅　　材",null,1,"批",null,"电工胶布、尼龙扎带、双面胶等"]
[12,"　　安装施工费",null,1,"项",null,"线槽及强弱电施工"]
[14,"　　现场拆除费用",null,1,"项",null,"拆除及搬运"]
["注：投标设备品牌必须为备注中品牌，以上报价为含税价。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}