{"text_format":"3","workbook":"xls","n_sheets":9,"sheets":["B.1 招标工程量清单封面(封-1)","C.1 工程项目招标工程量清单扉页(扉1)","E.1 建设项目投标报价汇总表(表-02)","E.3 单位工程招标控制价投标报价汇总表(表-04)【房屋建~","F.1.1 分部分项工程清单计价表(表-08)含定额人工费【~","F.1.2 单价措施项目清单计价表(表-08)含定额人工费【~","F.4 总价措施项目清单计价表(安全文明措施带费 表-11)~","H 规费、税金项目清单计价表(表-13)【房屋建筑维修与加固~","L.2 承包人提供主要材料和工程设备一览表(表-21)【房屋~"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"B.1 招标工程量清单封面(封-1)","index":0,"n_rows":8,"n_cols":7,"rows_kept":8,"merged":[[0,1,0,5],[1,0,1,6],[2,0,2,1],[2,2,2,4],[2,5,2,6],[3,0,3,1],[3,2,3,4],[3,5,3,6],[4,0,4,2],[4,4,4,6],[5,0,5,2],[5,4,5,6],[6,0,6,6],[7,0,7,6]],"flags":["formulas_cached_only"]}
["","四川财经职业学院体育馆墙面乳胶漆修复工程","","","","","工程"]
["招标工程量清单","","","","","",""]
["招  标  人:",""," ","","","",""]
["        ","","(单位盖章)","","","",""]
["造价咨询人:","",""," ","","",""]
["              \r\n","","","(单位盖章)","","",""]
[" ","","","","","",""]
["封-1","","","","","",""]

{"sheet":"C.1 工程项目招标工程量清单扉页(扉1)","index":1,"n_rows":10,"n_cols":18,"rows_kept":10,"merged":[[0,0,0,1],[0,2,0,16],[1,0,1,17],[2,0,2,3],[2,4,2,8],[2,9,2,10],[2,12,2,17],[3,0,3,2],[3,3,3,7],[3,8,3,11],[3,12,3,17],[4,0,4,2],[4,3,4,7],[4,8,4,9],[4,10,4,14],[4,15,4,17],[5,1,5,6],[5,7,5,12],[5,13,5,17],[6,0,6,2],[6,3,6,6],[6,7,6,10],[6,11,6,14],[6,15,6,17],[7,0,7,1],[7,2,7,5],[7,6,7,13],[7,14,7,17],[8,0,8,4],[8,5,8,9],[8,10,8,15],[8,16,8,17],[9,0,9,17]],"flags":["formulas_cached_only"]}
["","","四川财经职业学院体育馆墙面乳胶漆修复工程","","","","","","","","","","","","","","","工程"]
["招标工程量清单","","","","","","","","","","","","","","","","",""]
["招  标  人:","","",""," ","","","","","","","造价咨询人:"," ","","","","",""]
["","","","(单位盖章)","","","","","","","","","（单位资质专用章）","","","","",""]
["法定代表人\r\n或其授权人:","",""," ","","","","","","","法定代表人\r\n或其授权人:","","","",""," ","",""]
["","(签字或盖章)","","","","","","","","","","","","(签字或盖章)","","","",""]
["编　制　人:","",""," ","","","","","","","","复　核　人:","","",""," ","",""]
["","","(造价人员签字盖专用章)","","","","","","","","","","","","(造价工程师签字盖专用章)","","",""]
["编 制 时 间:","","","",""," ","","","","","复 核 时 间:","","","","",""," ",""]
["扉-1　　　","","","","","","","","","","","","","","","","",""]

{"sheet":"E.1 建设项目投标报价汇总表(表-02)","index":2,"n_rows":6,"n_cols":8,"rows_kept":6,"merged":[[0,0,0,7],[1,0,1,1],[1,2,1,5],[1,6,1,7],[2,0,3,0],[2,1,3,2],[2,3,3,3],[2,4,2,7],[3,5,3,6],[4,1,4,2],[4,5,4,6],[5,0,5,2],[5,5,5,6]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表","","","","","","",""]
["工程名称：","","四川财经职业学院体育馆墙面乳胶漆修复工程","","","","",""]
["序号","单项工程名称 ","","金额（元）","其中: (元)","","",""]
["","","","","暂估价","安全文明\r\n  施工费  ","","规费"]
[" ","单项工程1",""]
["合　　计","",""]

{"sheet":"E.3 单位工程招标控制价投标报价汇总表(表-04)【房屋建~","index":3,"n_rows":17,"n_cols":5,"rows_kept":17,"merged":[[0,0,0,4],[1,0,1,1],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,0,16,2]],"flags":["formulas_cached_only"]}
["单位工程招标控制价／投标报价汇总表","","","",""]
["工程名称：","","四川财经职业学院体育馆墙面乳胶漆修复工程【房屋建筑维修与加固工程】","标段：",""]
["序号","汇总内容","","金  额（元）","其中:暂估价(元)"]
["1","分部分项及单价措施项目",""]
["2","总价措施项目",""]
["2.1","其中：安全文明施工费",""]
["3","其他项目",""]
["3.1","其中：暂列金额",""]
["3.2","其中：专业工程暂估价",""]
["3.3","其中：计日工",""]
["3.4","其中：总承包服务费",""]
["4","规费",""]
["5","创优质工程奖补偿奖励费",""]
["6","税前工程造价",""]
["6.1","其中：甲供材料（设备）费",""]
["7","销项增值税额",""]
[" 招标控制价/投标报价总价合计=税前工程造价+销项增值税额","",""]

{"sheet":"F.1.1 分部分项工程清单计价表(表-08)含定额人工费【~","index":4,"n_rows":15,"n_cols":13,"rows_kept":15,"merged":[[0,0,0,12],[1,0,1,1],[1,2,1,6],[1,7,1,9],[1,10,1,12],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,12],[3,8,4,8],[3,9,4,10],[3,11,3,12],[5,1,5,2],[5,6,5,7],[5,9,5,10],[6,1,6,2],[6,6,6,7],[6,9,6,10],[7,1,7,2],[7,6,7,7],[7,9,7,10],[8,1,8,2],[8,6,8,7],[8,9,8,10],[9,1,9,2],[9,6,9,7],[9,9,9,10],[10,1,10,2],[10,6,10,7],[10,9,10,10],[11,1,11,2],[11,6,11,7],[11,9,11,10],[12,1,12,2],[12,6,12,7],[12,9,12,10],[13,1,13,2],[13,6,13,7],[13,9,13,10],[14,0,14,8],[14,9,14,10]],"flags":["formulas_cached_only"]}
["分部分项工程量清单与计价表","","","","","","","","","","","",""]
["工程名称：","","四川财经职业学院体育馆墙面乳胶漆修复工程【房屋建筑维修与加固工程】","","","","","标段：","","","","",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程\r\n数量","","金额（元）","","","",""]
["","","","","","","","","综合单价","合价","","其   中",""]
["","","","","","","","","","","","定额人工费","暂估价"]
["1","011406001001","","室内墙面乳胶漆","1.基层类型：墙面一般抹灰面\r\n2.油漆品种、刷漆遍数：清理基层，修补，砂纸打磨，乳胶漆底漆一遍，面漆两遍\r\n","m2","9617.76","","","","","",""]
["2","011406003002","","开裂和起泡处满刮腻子 耐水型","1.基层类型：墙面一般抹灰面\r\n2.腻子种类：耐水型腻子\r\n3.刮腻子要求：清理基层，修补，砂纸打磨；满刮腻子一遍，找补两遍\r\n","m2","927.48","","","","","",""]
["3","011201004003","","开裂处砂浆找平层","1.墙体类型：砖内墙\r\n2.底层厚度、砂浆配合比：铺设钢丝网一道，基层上刷素水泥浆一遍、9mm厚1:1:6水泥砂浆打底、再抹7mm厚1:1:6水泥砂浆，\r\n3.面层厚度、砂浆配合比：5mm厚1:0.3:2.5水泥砂浆罩面压光\r\n","m2","519","","","","","",""]
["4","010607005004","","砌块墙钢丝网加固（开裂处）","1.材料品种、规格：丝径Φ0.9网孔12.7*12.7\r\n2.部位、做法：开裂处加挂300宽，丝径Φ0.9网孔12.7*12.7镀锌钢丝网","m2","519","","","","","",""]
["5","011302001005","","局部吊顶天棚修复","1.9.5厚600*600装饰石膏板\r\n","m2","3.6","","","","","",""]
["6","011604002006","","立面抹灰层拆除（开裂处）","1. 拆除部位：开裂处 \r\n2. 建渣清运、运距投标单位综合考虑报价","m2","519","","","","","",""]
["7","011608002007","","铲除涂料面（开裂处和起泡处）","1.铲除部位名称：开裂处和起泡处 \r\n2. 建渣清运、运距投标单位综合考虑报价","m2","727.48","","","","","",""]
["8","011102003008","","防滑地砖地面（雨篷处）","1.找平层材料种类、厚度：1:3水泥砂浆20mm厚 \r\n2.结合层厚度、砂浆配合比：20mm厚1:2干硬性水泥砂浆 \r\n3.面层材料品种、规格：防滑地砖150×150 \r\n4.嵌缝材料种类：白水泥浆 \r\n","m2","65","","","","","",""]
["9","011604001009","","平面抹灰层拆除（雨篷处）","1. 拆除部位：雨篷处 \r\n2. 建渣清运、运距投标单位综合考虑报价","m2","65","","","","","",""]
["合　　计","","","","","","","","","","","",""]

{"sheet":"F.1.2 单价措施项目清单计价表(表-08)含定额人工费【~","index":5,"n_rows":16,"n_cols":13,"rows_kept":16,"merged":[[0,0,0,12],[1,0,1,1],[1,2,1,6],[1,7,1,9],[1,10,1,12],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,12],[3,8,4,8],[3,9,4,10],[3,11,3,12],[5,1,5,2],[5,6,5,7],[5,9,5,10],[6,1,6,2],[6,6,6,7],[6,9,6,10],[7,1,7,2],[7,6,7,7],[7,9,7,10],[8,1,8,2],[8,6,8,7],[8,9,8,10],[9,1,9,2],[9,6,9,7],[9,9,9,10],[10,1,10,2],[10,6,10,7],[10,9,10,10],[11,1,11,2],[11,6,11,7],[11,9,11,10],[12,1,12,2],[12,6,12,7],[12,9,12,10],[13,1,13,2],[13,6,13,7],[13,9,13,10],[14,1,14,2],[14,6,14,7],[14,9,14,10],[15,0,15,8],[15,9,15,10]],"flags":["formulas_cached_only"]}
["单价措施项目清单与计价表","","","","","","","","","","","",""]
["工程名称：","","四川财经职业学院体育馆墙面乳胶漆修复工程【房屋建筑维修与加固工程】","","","","","标段：","","","","",""]
["序 号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","","",""]
["","","","","","","","","综合单价","合价","","其中",""]
["","","","","","","","","","","","定额人工费","暂估价"]
[" "," ","","脚手架工程"," "," "," ","","","","","",""]
["1","011701001001","","综合脚手架","1．建筑结构形式 \r\n2．檐口高度","m2"," ","","","","","",""]
["2","011701002001","","外脚手架","1．搭设方式 \r\n2．搭设高度 \r\n3．脚手架材质","m2"," ","","","","","",""]
["3","011701003001","","里脚手架","1．搭设方式 \r\n2．搭设高度 \r\n3．脚手架材质","m2","525","","","","","",""]
["4","011701004001","","悬空脚手架","1．搭设方式 \r\n2．悬挑宽度 \r\n3．脚手架材质","m2"," ","","","","","",""]
["5","011701005001","","挑脚手架","1．搭设方式 \r\n2．悬挑宽度 \r\n3．脚手架材质","m"," ","","","","","",""]
["6","011701006001","","满堂脚手架","1．搭设方式 \r\n2. 搭设高度 \r\n3．脚手架材质","m2"," ","","","","","",""]
["7","011701007001","","整体提升架","1．搭设方式及启动装置 \r\n2. 搭设高度","m2","927.48","","","","","",""]
["8","011701008001","","外装饰吊篮","1．升降方式及启动装置 \r\n2. 搭设高度及吊篮型号","m2"," ","","","","","",""]
[" "," ","","小计"," "," "," ","","","","","",""]
["合　　计","","","","","","","","","","","",""]

{"sheet":"F.4 总价措施项目清单计价表(安全文明措施带费 表-11)~","index":6,"n_rows":20,"n_cols":15,"rows_kept":20,"merged":[[0,0,0,14],[1,0,1,1],[1,2,1,7],[1,9,1,12],[1,13,1,14],[2,1,2,2],[2,3,2,4],[2,7,2,9],[2,10,2,11],[2,12,2,13],[3,1,3,2],[3,3,3,4],[3,7,3,9],[3,10,3,11],[3,12,3,13],[4,0,7,0],[4,1,4,2],[4,3,4,4],[4,7,4,9],[4,10,4,11],[4,12,4,13],[5,1,5,2],[5,3,5,4],[5,7,5,9],[5,10,5,11],[5,12,5,13],[6,1,6,2],[6,3,6,4],[6,7,6,9],[6,10,6,11],[6,12,6,13],[7,1,7,2],[7,3,7,4],[7,7,7,9],[7,10,7,11],[7,12,7,13],[8,1,8,2],[8,3,8,4],[8,7,8,9],[8,10,8,11],[8,12,8,13],[9,1,9,2],[9,3,9,4],[9,7,9,9],[9,10,9,11],[9,12,9,13],[10,1,10,2],[10,3,10,4],[10,7,10,9],[10,10,10,11],[10,12,10,13],[11,1,11,2],[11,3,11,4],[11,7,11,9],[11,10,11,11],[11,12,11,13],[12,1,12,2],[12,3,12,4],[12,7,12,9],[12,10,12,11],[12,12,12,13],[13,1,13,2],[13,3,13,4],[13,7,13,9],[13,10,13,11],[13,12,13,13],[14,1,14,2],[14,3,14,4],[14,7,14,9],[14,10,14,11],[14,12,14,13],[15,1,15,2],[15,3,15,4],[15,7,15,9],[15,10,15,11],[15,12,15,13],[16,1,16,2],[16,3,16,4],[16,7,16,9],[16,10,16,11],[16,12,16,13],[17,1,17,2],[17,3,17,4],[17,7,17,9],[17,10,17,11],[17,12,17,13],[18,1,18,2],[18,3,18,4],[18,7,18,9],[18,10,18,11],[18,12,18,13],[19,0,19,6],[19,7,19,9],[19,10,19,11],[19,12,19,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单计价表","","","","","","","","","","","","","",""]
["工程名称：","","四川财经职业学院体育馆墙面乳胶漆修复工程【房屋建筑维修与加固工程】","","","","","","标段:"," ","","","","",""]
["序 号","项目编码","","项 目 名 称","","计算基础","费率（%）","金额（元）","","","调整\r\n 费率 \r\n(%)","","调整后\r\n金额\r\n(元)","","备注"]
["1","011707001001","","安全文明施工",""," ","项","","","","","","",""," "]
["其\r\n \r\n中","①","","环境保护","","分部分项定额人工费+单价措施定额人工费","0.4","","","","","","",""," "]
["","②","","文明施工","","分部分项定额人工费+单价措施定额人工费","2.28","","","","","","",""," "]
["","③","","安全施工","","分部分项定额人工费+单价措施定额人工费","3.82","","","","","","",""," "]
["","④","","临时设施","","分部分项定额人工费+单价措施定额人工费","5.40","","","","","","",""," "]
["2","011707002001","","夜间施工",""," ","项","","","","","","",""," "]
[" ","①","","夜间施工费","","分部分项定额人工费+单价措施定额人工费","0.78","","","","","","",""," "]
["3","011707003001","","非夜间施工照明",""," ","项","","","","","","",""," "]
["4","011707004001","","二次搬运",""," ","项","","","","","","",""," "]
[" ","①","","二次搬运费","","分部分项定额人工费+单价措施定额人工费","0.38","","","","","","",""," "]
["5","011707005001","","冬雨季施工",""," ","项","","","","","","",""," "]
[" ","①","","冬雨季施工","","分部分项定额人工费+单价措施定额人工费"," ","","","","","","",""," "]
["6","011707006001","","地上、地下设施、建筑物的临时保护设施",""," ","项","","","","","","",""," "]
["7","011707007001","","已完工程及设备保护",""," ","项","","","","","","",""," "]
["8","011707008001","","工程定位复测费",""," ","项","","","","","","",""," "]
[" ","①","","工程定位复测","","分部分项定额人工费+单价措施定额人工费"," ","","","","","","",""," "]
["合　　计","","","","","","","-","","","-","","-","","-"]

{"sheet":"H 规费、税金项目清单计价表(表-13)【房屋建筑维修与加固~","index":7,"n_rows":14,"n_cols":6,"rows_kept":14,"merged":[[0,0,0,5],[1,1,1,2],[1,3,1,4],[13,0,13,4]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表","","","","",""]
["工程名称：","四川财经职业学院体育馆墙面乳胶漆修复工程【房屋建筑维修与加固工程】","","标段：","",""]
["序号","项目名称","计算基础","计算基数","计算费率（％）","金额(元)"]
["1","规费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["1.1","社会保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(1)","养老保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(2)","失业保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(3)","医疗保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(4)","工伤保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(5)","生育保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["1.2","住房公积金","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["1.3","工程排污费","按工程所在地环境保护部门收取标准，按实计入","","",""]
["2","销项增值税额","分部分项工程费+措施项目费+其他项目费+规费+创优质工程奖补偿奖励费-按规定不计税的工程设备金额-甲供材料（设备）设备费","","",""]
["合计","","","","",""]

{"sheet":"L.2 承包人提供主要材料和工程设备一览表(表-21)【房屋~","index":8,"n_rows":20,"n_cols":10,"rows_kept":20,"merged":[[0,0,0,9],[1,1,1,4],[1,5,1,7],[1,8,1,9],[2,4,2,5],[3,4,3,5],[4,4,4,5],[5,4,5,5],[6,4,6,5],[7,4,7,5],[8,4,8,5],[9,4,9,5],[10,4,10,5],[11,4,11,5],[12,4,12,5],[13,4,13,5],[14,4,14,5],[15,4,15,5],[16,4,16,5],[17,4,17,5],[18,4,18,5],[19,4,19,5]],"flags":["formulas_cached_only"]}
[" 承包人提供主要材料和工程设备一览表\r\n（适用造价信息差额调整法）","","","","","","","","",""]
["工程名称：","四川财经职业学院体育馆墙面乳胶漆修复工程【房屋建筑维修与加固工程】","","","","标段：","","","",""]
["序号","名称、规格、型号","单位","数量","风险系数(%)","","基准单价(元)","投标单价(元)","发承包人确认单价(元)","备注"]
["1","其他材料费","元",{"$nulls":4},"",""," "]
["2","成品腻子粉 耐水型（N）","kg",{"$nulls":4},"",""," "]
["3","水泥 32.5","kg",{"$nulls":4},"",""," "]
["4","中砂","m3",{"$nulls":4},"",""," "]
["5","水","m3",{"$nulls":4},"",""," "]
["6","防水石膏板","m2",{"$nulls":4},"",""," "]
["7","锯材 综合","m3",{"$nulls":4},"",""," "]
["8","脚手架钢材","kg",{"$nulls":4},"",""," "]
["9","柴油(机械)","kg",{"$nulls":4},"",""," "]
["10","成品腻子膏 耐水性 (Y)","kg",{"$nulls":4},"",""," "]
["11","白水泥","kg",{"$nulls":4},"",""," "]
["12","型钢","kg",{"$nulls":4},"",""," "]
["13","机具摊销费","元",{"$nulls":4},"",""," "]
["14","防滑地砖 150×150","m2",{"$nulls":4},"",""," "]
["15","乳胶漆底漆","kg",{"$nulls":4},"",""," "]
["16","乳胶漆面漆","kg",{"$nulls":4},"",""," "]
["17","钢丝网","m2",{"$nulls":4},"",""," "]