{"text_format":"3","workbook":"xls","n_sheets":9,"sheets":["B.1 招标工程量清单封面(封-1)","C.1 工程项目招标工程量清单扉页(扉1)","E.1 建设项目投标报价汇总表(表-02)","E.3 单位工程投标报价汇总表(表-04)【园林绿化工程】","F.1.1 分部分项工程清单计价表(表-08)含定额人工费【~","F.1.2 单价措施项目清单计价表(表-08)含定额人工费【~","F.4 总价措施项目清单计价表(安全文明措施带费 表-11)~","H 规费、税金项目清单计价表(表-13)【园林绿化工程】","L.2 承包人提供主要材料和工程设备一览表(表-21)【园林~"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"B.1 招标工程量清单封面(封-1)","index":0,"n_rows":8,"n_cols":7,"rows_kept":8,"merged":[[0,1,0,5],[1,0,1,6],[2,0,2,1],[2,2,2,4],[2,5,2,6],[3,0,3,1],[3,2,3,4],[3,5,3,6],[4,0,4,2],[4,4,4,6],[5,0,5,2],[5,4,5,6],[6,0,6,6],[7,0,7,6]],"flags":["formulas_cached_only"]}
["","校园进校门右边桃花林铺种草坪项目","","","","","工程"]
["招标工程量清单","","","","","",""]
["招  标  人:",""," ","","","",""]
["        ","","(单位盖章)","","","",""]
["造价咨询人:","",""," ","","",""]
["              \r\n","","","(单位盖章)","","",""]
[" ","","","","","",""]
["封-1","","","","","",""]

{"sheet":"C.1 工程项目招标工程量清单扉页(扉1)","index":1,"n_rows":10,"n_cols":18,"rows_kept":10,"merged":[[0,0,0,1],[0,2,0,16],[1,0,1,17],[2,0,2,3],[2,4,2,8],[2,9,2,10],[2,12,2,17],[3,0,3,2],[3,3,3,7],[3,8,3,11],[3,12,3,17],[4,0,4,2],[4,3,4,7],[4,8,4,9],[4,10,4,14],[4,15,4,17],[5,1,5,6],[5,7,5,12],[5,13,5,17],[6,0,6,2],[6,3,6,6],[6,7,6,10],[6,11,6,14],[6,15,6,17],[7,0,7,1],[7,2,7,5],[7,6,7,13],[7,14,7,17],[8,0,8,4],[8,5,8,9],[8,10,8,15],[8,16,8,17],[9,0,9,17]],"flags":["formulas_cached_only"]}
["","","校园进校门右边桃花林铺种草坪项目","","","","","","","","","","","","","","","工程"]
["招标工程量清单","","","","","","","","","","","","","","","","",""]
["招  标  人:","","",""," ","","","","","","","造价咨询人:"," ","","","","",""]
["","","","(单位盖章)","","","","","","","","","（单位资质专用章）","","","","",""]
["法定代表人\r\n或其授权人:","",""," ","","","","","","","法定代表人\r\n或其授权人:","","","",""," ","",""]
["","(签字或盖章)","","","","","","","","","","","","(签字或盖章)","","","",""]
["编　制　人:","",""," ","","","","","","","","复　核　人:","","",""," ","",""]
["","","(造价人员签字盖专用章)","","","","","","","","","","","","(造价工程师签字盖专用章)","","",""]
["编 制 时 间:","","","",""," ","","","","","复 核 时 间:","","","","",""," ",""]
["扉-1　　　","","","","","","","","","","","","","","","","",""]

{"sheet":"E.1 建设项目投标报价汇总表(表-02)","index":2,"n_rows":6,"n_cols":8,"rows_kept":6,"merged":[[0,0,0,7],[1,0,1,1],[1,2,1,5],[1,6,1,7],[2,0,3,0],[2,1,3,2],[2,3,3,3],[2,4,2,7],[3,5,3,6],[4,1,4,2],[4,5,4,6],[5,0,5,2],[5,5,5,6]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表","","","","","","",""]
["工程名称：","","校园进校门右边桃花林铺种草坪项目","","","","",""]
["序号","单项工程名称 ","","金额（元）","其中: (元)","","",""]
["","","","","暂估价","安全文明\r\n  施工费  ","","规费"]
[" ","单项工程1",""]
["合　　计","",""]

{"sheet":"E.3 单位工程投标报价汇总表(表-04)【园林绿化工程】","index":3,"n_rows":17,"n_cols":5,"rows_kept":17,"merged":[[0,0,0,4],[1,2,1,3],[2,3,2,4],[3,3,3,4],[4,3,4,4],[5,3,5,4],[6,3,6,4],[7,3,7,4],[8,3,8,4],[9,3,9,4],[10,3,10,4],[11,3,11,4],[12,3,12,4],[13,3,13,4],[14,3,14,4],[15,3,15,4],[16,0,16,1],[16,3,16,4]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表","","","",""]
["工程名称：","校园进校门右边桃花林铺种草坪项目【园林绿化工程】","标段：","",""]
["序号","汇总内容","金  额（元）","其中:暂估价(元)",""]
["1","分部分项及单价措施项目"]
["2","总价措施项目"]
["2.1","其中：安全文明施工费"]
["3","其他项目"]
["3.1","其中：暂列金额"]
["3.2","其中：专业工程暂估价"]
["3.3","其中：计日工"]
["3.4","其中：总承包服务费"]
["4","规费"]
["5","创优质工程奖补偿奖励费"]
["6","税前工程造价"]
["6.1","其中：甲供材料（设备）费"]
["7","销项增值税额"]
[" 招标控制价/投标报价总价合计=税前工程造价+销项增值税额",""]

{"sheet":"F.1.1 分部分项工程清单计价表(表-08)含定额人工费【~","index":4,"n_rows":15,"n_cols":13,"rows_kept":15,"merged":[[0,0,0,12],[1,0,1,1],[1,2,1,6],[1,7,1,9],[1,10,1,12],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,12],[3,8,4,8],[3,9,4,10],[3,11,3,12],[5,1,5,2],[5,6,5,7],[5,9,5,10],[6,1,6,2],[6,6,6,7],[6,9,6,10],[7,1,7,2],[7,6,7,7],[7,9,7,10],[8,1,8,2],[8,6,8,7],[8,9,8,10],[9,1,9,2],[9,6,9,7],[9,9,9,10],[10,1,10,2],[10,6,10,7],[10,9,10,10],[11,1,11,2],[11,6,11,7],[11,9,11,10],[12,1,12,2],[12,6,12,7],[12,9,12,10],[13,1,13,2],[13,6,13,7],[13,9,13,10],[14,0,14,8],[14,9,14,10]],"flags":["formulas_cached_only"]}
["分部分项工程量清单与计价表","","","","","","","","","","","",""]
["工程名称：","","校园进校门右边桃花林铺种草坪项目【园林绿化工程】","","","","","标段：","","","","",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程\r\n数量","","金额（元）","","","",""]
["","","","","","","","","综合单价","合价","","其   中",""]
["","","","","","","","","","","","定额人工费","暂估价"]
["1","050101010001","","整理绿化用地","1.土壤类别：综合\r\n2.土质要求：适合种植\r\n","m2","4728.6","","","","","",""]
["2","050102012002","","铺种草皮","1.草皮种类：草坪（台湾2号）\r\n2.铺种方式：满铺\r\n3.养护期：3个月","m2","4728.6","","","","","",""]
["3","031001006003","","PP-R给水管 DN25","1.安装部位：室外\r\n2.介质：给水\r\n3.材质、规格：PPR-DN25\r\n4.连接形式：热熔连接 \r\n5.压力试验及吹、洗设计要求 ：工作压力1.25MP满足设计要求","m","20","","","","","",""]
["4","031001006004","","PP-R塑料给水管 DN63","1.安装部位：室外\r\n2.介质：给水\r\n3.材质、规格：PPR-DN63\r\n4.连接形式：热熔连接 \r\n5.压力试验及吹、洗设计要求 ：工作压力1.25MP满足设计要求","m","280","","","","","",""]
["5","031003001007","","截止阀 DN63","1.类型：截止阀 \r\n2.材质：同管道材质\r\n3.规格、压力等级：DN63\r\n4.连接形式：螺纹或法兰连接","个","3","","","","","",""]
["6","031003001007","","截止阀 DN25","1.类型：截止阀 \r\n2.材质：同管道材质\r\n3.规格、压力等级：DN25\r\n4.连接形式：螺纹或法兰连接","个","20","","","","","",""]
["7","031003003010","","法兰阀门 DN200","1.类型：综合 \r\n2.材质：综合  \r\n3.规格、压力等级：综合  \r\n4.连接形式：电熔 \r\n5.焊接方法：综合 \r\n","个","2","","","","","",""]
["8","自编013","","三通 DN200","1.三通，DN200变DN63\r\n2.电熔连接","个","1","","","","","",""]
["9","自编006","","建渣深埋","1.地表原建渣就地深埋，深度不低于1000mm","项","1","","","","","",""]
["合　　计","","","","","","","","","","","",""]

{"sheet":"F.1.2 单价措施项目清单计价表(表-08)含定额人工费【~","index":5,"n_rows":34,"n_cols":13,"rows_kept":34,"merged":[[0,0,0,12],[1,0,1,1],[1,2,1,6],[1,7,1,9],[1,10,1,12],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,12],[3,8,4,8],[3,9,4,10],[3,11,3,12],[5,1,5,2],[5,6,5,7],[5,9,5,10],[6,1,6,2],[6,6,6,7],[6,9,6,10],[7,1,7,2],[7,6,7,7],[7,9,7,10],[8,1,8,2],[8,6,8,7],[8,9,8,10],[9,1,9,2],[9,6,9,7],[9,9,9,10],[10,1,10,2],[10,6,10,7],[10,9,10,10],[11,1,11,2],[11,6,11,7],[11,9,11,10],[12,1,12,2],[12,6,12,7],[12,9,12,10],[13,1,13,2],[13,6,13,7],[13,9,13,10],[14,1,14,2],[14,6,14,7],[14,9,14,10],[15,1,15,2],[15,6,15,7],[15,9,15,10],[16,1,16,2],[16,6,16,7],[16,9,16,10],[17,1,17,2],[17,6,17,7],[17,9,17,10],[18,1,18,2],[18,6,18,7],[18,9,18,10],[19,1,19,2],[19,6,19,7],[19,9,19,10],[20,1,20,2],[20,6,20,7],[20,9,20,10],[21,1,21,2],[21,6,21,7],[21,9,21,10],[22,1,22,2],[22,6,22,7],[22,9,22,10],[23,1,23,2],[23,6,23,7],[23,9,23,10],[24,1,24,2],[24,6,24,7],[24,9,24,10],[25,1,25,2],[25,6,25,7],[25,9,25,10],[26,1,26,2],[26,6,26,7],[26,9,26,10],[27,1,27,2],[27,6,27,7],[27,9,27,10],[28,1,28,2],[28,6,28,7],[28,9,28,10],[29,1,29,2],[29,6,29,7],[29,9,29,10],[30,1,30,2],[30,6,30,7],[30,9,30,10],[31,1,31,2],[31,6,31,7],[31,9,31,10],[32,1,32,2],[32,6,32,7],[32,9,32,10],[33,0,33,8],[33,9,33,10]],"flags":["formulas_cached_only"]}
["单价措施项目清单与计价表","","","","","","","","","","","",""]
["工程名称：","","校园进校门右边桃花林铺种草坪项目【园林绿化工程】","","","","","标段：","","","","",""]
["序 号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","","",""]
["","","","","","","","","综合单价","合价","","其中",""]
["","","","","","","","","","","","定额人工费","暂估价"]
[" "," ","","脚手架工程"," "," "," ","","","","","",""]
["1","050401001001","","砌筑脚手架","1.搭设方式 \r\n2.墙体高度","m2"," ","","","","","",""]
["2","050401002001","","抹灰脚手架","1.搭设方式 \r\n2.墙体高度","m2"," ","","","","","",""]
["3","050401003001","","亭脚手架","1.搭设方式 \r\n2.檐口高度","座|m2"," ","","","","","",""]
["4","050401004001","","满堂脚手架","1.搭设方式 \r\n2.施工面高度","m2"," ","","","","","",""]
["5","050401005001","","堆砌(塑)假山脚手架","1.搭设方式 \r\n2.假山高度","m2"," ","","","","","",""]
["6","050401006001","","桥身脚手架","1.搭设方式 \r\n2.桥身高度","m2"," ","","","","","",""]
["7","050401007001","","斜道","斜道高度","座"," ","","","","","",""]
[" "," ","","小计"," "," "," ","","","","","",""]
[" "," ","","模板工程"," "," "," ","","","","","",""]
["8","050402001001","","现浇混凝土垫层","厚度","m2"," ","","","","","",""]
["9","050402002001","","现浇混凝土路面","厚度","m2"," ","","","","","",""]
["10","050402003001","","现浇混凝土路牙、树池围牙","高度","m2"," ","","","","","",""]
["11","050402004001","","现浇混凝土花架柱","断面尺寸","m2"," ","","","","","",""]
["12","050402005001","","现浇混凝土花架梁","1.断面尺寸 \r\n2.梁底高度","m2"," ","","","","","",""]
["13","050402006001","","现浇混凝土花池","池壁断面尺寸","m2"," ","","","","","",""]
["14","050402007001","","现浇混凝土桌凳","1.桌凳形状 \r\n2.基础尺寸、埋设深度 \r\n3.桌面尺寸、支墩高度 \r\n4.凳面尺寸、支墩高度","m3|个"," ","","","","","",""]
["15","050402008001","","石桥拱劵石、      石劵脸胎架","1.胎架面高度 \r\n2.矢高、弦长","m2"," ","","","","","",""]
[" "," ","","小计"," "," "," ","","","","","",""]
[" "," ","","树木支撑架、草绳绕树干、搭设遮阴（防寒）棚工程"," "," "," ","","","","","",""]
["16","050403001001","","树木支撑架","1.支撑类型、材质 \r\n2.支撑材料规格 \r\n3.单株支撑材料数量","株"," ","","","","","",""]
["17","050403002001","","草绳绕树干","1.胸径（干径） \r\n2.草绳所绕树干高度","株"," ","","","","","",""]
["18","050403003001","","搭设遮阴(防寒)棚","1.搭设高度 \r\n2.搭设材料种类、规格","m2|株"," ","","","","","",""]
[" "," ","","小计"," "," "," ","","","","","",""]
[" "," ","","围堰、排水工程"," "," "," ","","","","","",""]
["19","050404001001","","围堰","1.围堰断面尺寸 \r\n2.围堰长度 \r\n3.围堰材料及灌装袋材料品种、规格","m3|m"," ","","","","","",""]
["20","050404002001","","排水","1.种类及管径 \r\n2.数量 \r\n3.排水长度","m3|天|台班"," ","","","","","",""]
[" "," ","","小计"," "," "," ","","","","","",""]
["合　　计","","","","","","","","","","","",""]

{"sheet":"F.4 总价措施项目清单计价表(安全文明措施带费 表-11)~","index":6,"n_rows":21,"n_cols":15,"rows_kept":21,"merged":[[0,0,0,14],[1,0,1,1],[1,2,1,7],[1,9,1,12],[1,13,1,14],[2,1,2,2],[2,3,2,4],[2,7,2,9],[2,10,2,11],[2,12,2,13],[3,1,3,2],[3,3,3,4],[3,7,3,9],[3,10,3,11],[3,12,3,13],[4,0,7,0],[4,1,4,2],[4,3,4,4],[4,7,4,9],[4,10,4,11],[4,12,4,13],[5,1,5,2],[5,3,5,4],[5,7,5,9],[5,10,5,11],[5,12,5,13],[6,1,6,2],[6,3,6,4],[6,7,6,9],[6,10,6,11],[6,12,6,13],[7,1,7,2],[7,3,7,4],[7,7,7,9],[7,10,7,11],[7,12,7,13],[8,1,8,2],[8,3,8,4],[8,7,8,9],[8,10,8,11],[8,12,8,13],[9,1,9,2],[9,3,9,4],[9,7,9,9],[9,10,9,11],[9,12,9,13],[10,1,10,2],[10,3,10,4],[10,7,10,9],[10,10,10,11],[10,12,10,13],[11,1,11,2],[11,3,11,4],[11,7,11,9],[11,10,11,11],[11,12,11,13],[12,1,12,2],[12,3,12,4],[12,7,12,9],[12,10,12,11],[12,12,12,13],[13,1,13,2],[13,3,13,4],[13,7,13,9],[13,10,13,11],[13,12,13,13],[14,1,14,2],[14,3,14,4],[14,7,14,9],[14,10,14,11],[14,12,14,13],[15,1,15,2],[15,3,15,4],[15,7,15,9],[15,10,15,11],[15,12,15,13],[16,1,16,2],[16,3,16,4],[16,7,16,9],[16,10,16,11],[16,12,16,13],[17,1,17,2],[17,3,17,4],[17,7,17,9],[17,10,17,11],[17,12,17,13],[18,1,18,2],[18,3,18,4],[18,7,18,9],[18,10,18,11],[18,12,18,13],[19,1,19,2],[19,3,19,4],[19,7,19,9],[19,10,19,11],[19,12,19,13],[20,0,20,6],[20,7,20,9],[20,10,20,11],[20,12,20,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单计价表","","","","","","","","","","","","","",""]
["工程名称：","","校园进校门右边桃花林铺种草坪项目【园林绿化工程】","","","","","","标段:"," ","","","","",""]
["序 号","项目编码","","项 目 名 称","","计算基础","费率（%）","金额（元）","","","调整\r\n 费率 \r\n(%)","","调整后\r\n金额\r\n(元)","","备注"]
["1","050405001001","","安全文明施工",""," ","项","","","","","","",""," "]
["其\r\n \r\n中","①","","环境保护","","分部分项定额人工费+单价措施定额人工费","0.4","","","","","","",""," "]
["","②","","文明施工","","分部分项定额人工费+单价措施定额人工费","2.28","","","","","","",""," "]
["","③","","安全施工","","分部分项定额人工费+单价措施定额人工费","3.82","","","","","","",""," "]
["","④","","临时设施","","分部分项定额人工费+单价措施定额人工费","6.16","","","","","","",""," "]
["2","050405002001","","夜间施工",""," ","项","","","","","","",""," "]
[" ","①","","夜间施工费","","分部分项定额人工费+单价措施定额人工费"," ","","","","","","",""," "]
["3","050405003001","","非夜间施工照明",""," ","项","","","","","","",""," "]
["4","050405004001","","二次搬运",""," ","项","","","","","","",""," "]
[" ","①","","二次搬运费","","分部分项定额人工费+单价措施定额人工费"," ","","","","","","",""," "]
["5","050405005001","","冬雨季施工",""," ","项","","","","","","",""," "]
[" ","①","","冬雨季施工","","分部分项定额人工费+单价措施定额人工费"," ","","","","","","",""," "]
["6","050405006001","","反季节栽植影响措施",""," ","项","","","","","","",""," "]
["7","050405007001","","地上、地下设施的临时保护设施",""," ","项","","","","","","",""," "]
["8","050405008001","","已完工程及设备保护",""," ","项","","","","","","",""," "]
["9","050405009001","","工程定位复测费",""," ","项","","","","","","",""," "]
[" ","①","","工程定位复测","","分部分项定额人工费+单价措施定额人工费"," ","","","","","","",""," "]
["合　　计","","","","","","","-","","","-","","-","","-"]

{"sheet":"H 规费、税金项目清单计价表(表-13)【园林绿化工程】","index":7,"n_rows":14,"n_cols":6,"rows_kept":14,"merged":[[0,0,0,5],[1,1,1,2],[1,3,1,4],[13,0,13,4]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表","","","","",""]
["工程名称：","校园进校门右边桃花林铺种草坪项目【园林绿化工程】","","标段：","",""]
["序号","项目名称","计算基础","计算基数","计算费率（％）","金额(元)"]
["1","规费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["1.1","社会保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(1)","养老保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(2)","失业保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(3)","医疗保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(4)","工伤保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(5)","生育保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["1.2","住房公积金","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["1.3","工程排污费","按工程所在地环境保护部门收取标准，按实计入","","",""]
["2","销项增值税额","分部分项工程费+措施项目费+其他项目费+规费+创优质工程奖补偿奖励费-按规定不计税的工程设备金额-甲供材料（设备）设备费","","",""]
["合计","","","","",""]

{"sheet":"L.2 承包人提供主要材料和工程设备一览表(表-21)【园林~","index":8,"n_rows":14,"n_cols":10,"rows_kept":14,"merged":[[0,0,0,9],[1,1,1,4],[1,5,1,7],[1,8,1,9],[2,4,2,5],[3,4,3,5],[4,4,4,5],[5,4,5,5],[6,4,6,5],[7,4,7,5],[8,4,8,5],[9,4,9,5],[10,4,10,5],[11,4,11,5],[12,4,12,5],[13,4,13,5]],"flags":["formulas_cached_only"]}
[" 承包人提供主要材料和工程设备一览表\r\n（适用造价信息差额调整法）","","","","","","","","",""]
["工程名称：","校园进校门右边桃花林铺种草坪项目【园林绿化工程】","","","","标段：","","","",""]
["序号","名称、规格、型号","单位","数量","风险系数(%)","","基准单价(元)","投标单价(元)","发承包人确认单价(元)","备注"]
["1","草绳","kg",{"$nulls":4},"",""," "]
["2","水","m3",{"$nulls":4},"",""," "]
["3","台湾2号","m2",{"$nulls":4},"",""," "]
["4","PP-R给水管 DN25","m",{"$nulls":4},"",""," "]
["5","PP-R给水管件 DN25","个",{"$nulls":4},"",""," "]
["6","PP-R给水管 DN63","m",{"$nulls":4},"",""," "]
["7","PP-R给水管件 DN63","个",{"$nulls":4},"",""," "]
["8","平焊法兰 1.6MPa DN200","副",{"$nulls":4},"",""," "]
["9","法兰阀门 DN200","个",{"$nulls":4},"",""," "]
["10","螺纹阀门 DN25","个",{"$nulls":4},"",""," "]
["11","螺纹阀门 DN63","个",{"$nulls":4},"",""," "]